## Library
Talkowski Laboratory - Form
RNASeq Protocol
F#: RNASeq_F_005_01
Plate Name:
Plate ID:
Plate Tech:
Plate Made Date:
Protocol ID:
Number of Samples:
[14 empty] | Date | Comments
Day 1 | [15 empty] | Before Starting procotol
Step I: Sample Prep (~30 min) | [15 empty] | Step I: Sample Prep (~30 min)
Bring to room temperature RNA Purification Beads (PRB), Bead Binding Buffer (BBB), Bead Washing Buffer (BWB), Elution Buffer (EB), Fragment_Prime_Finish Mix (F/P/F) and Resuspension Buffer
Make RBP
1 | Estimate RNA concentration using tape stations
2 | Calculate dilution factor on "Plate" spreadsheet | [9 empty] | Solution | Sample (uL) | Well (uL)
3 | Make 96 well RBP plate dilutions according to "Plate" spreadsheet
4 | Add 50 uL of RPB, pulse centrifuge | [9 empty] | RPB | 50 | 50 X 8
5 | Pipette mix 6X, pulse centrifuge | [14 empty] | Make RBP
Incubate 1 RBP
1 | Run on Thermocycler (mRNA Denaturation):
65C 5 min, 4C hold.
2 | Incubate at RT for 5 min | [14 empty] | Incubate 1 RBP
Wash RBP
1 | Place on magnetic stand (Mag) for 5 min
2 | Discard supernatant, remove from Mag
3 | Add 200 uL of BWB | [9 empty] | BWB | 200 | 1600
4 | Pipette mix 6X
5 | Place on Mag for 5 min
6 | Discard all supernatant, remove from Mag
7 | Add 50 uL of EB | [9 empty] | EB | 50 | 50 X 8
8 | Pipette mix 6X, pulse centrifuge | [14 empty] | Wash RBP
Incubate 2 RBP
1 | Run on Thermocycler (mRNA Elution 1):
80C 2 min, 25C on hold
2 | Add 50 ul of Binding Buffer | [9 empty] | BBB | 50 | 50 X 8
3 | Pipette mix 6X
4 | Place on Mag for 5 min
5 | Discard supernatant, remove from Mag
6 | Add 200 uL of BWB | [9 empty] | BWB | 200 | 1600
7 | Pipette mix 6X
8 | Place on Mag for 5 min
9 | Discard all supernatant, remove from Mag
10 | Add 19.5 uL of F/P/F | [9 empty] | F/P/F | 19.5 | 19.5 X 8
11 | Pipette mix 6X, pulse centrifuge | [14 empty] | Incubate 2 RBP
Incubate RFP
1 | Run on Thermocycler (Elution 2 - Frag - Prime):
|  | 94C for 8 min, 4C on hold | [13 empty] | Incubate RFP
Step II: Synthesize first Strand DNA (50 min) | [15 empty] | Step II: Synthesize first Strand DNA (50 min)
Thaw on ice First Strand Synthesis Act D Mix (FSSActD) and SuperScript III (SSIII)
Make CDP
1 | Place on Mag for 5 min
2 | Transfer 17 uL supernatant to new 96 well plate (CDP)
3 | Pre-Mix FSSactD with SSIII (ratio of 9:1) for Master Mix (MM) | [9 empty] | FSSactD | 9 | 72
[11 empty] | SSIII | 1 | 8
4 | Add 8 uL of MM | [9 empty] | MM | 8 | 8 X 8
5 | Pipette mix 6X, pulse centrifuge | [14 empty] | Make CDP
Incubate 1 CDP
1 | Run Thermocycler (Sythesize 1st Strand):
|  | 25C 10 min, 42C 15 min, 70C 15 min, hold 4C. | [13 empty] | Incubate 1 CDP
Step III: Synthesize Second Strand DNA and Clean Up (1.5 hours) | [15 empty] | Step III: Synthesize Second Strand DNA and Clean Up (1.5 hours)
Thaw on ice Second Strand Master Mix (SSMM)
Bring to RT Resuspension Buffer (RB)
Bring to RT and fully resuspend AMPure XP beads (AMP)
Prepare 80% ethanol (EtOH)
Add SMM
1 | Add 5 ul of RB | [9 empty] | RB | 5 | 5 X 8
2 | Add 20 ul of SSMM | [9 empty] | SSMM | 20 | 20 X 8 |  |  | Add SMM
3 | Pipette mix 6X, pulse centrifuge
Incubate 2 CDP
1 | Run Thermocycler (SS Synthesis):
|  | 16C 1 hr, hold 25C | [13 empty] | Incubate 2 CDP
Purify CDP
1 | Add 90 ul of AMP | [9 empty] | AMP | 90 | 720
2 | Incubate at RT for 15 min
3 | Place on Mag for 5 min
4 | Discard supernatant (135 uL),
5 | (On Mag) Add 200 uL of 80% EtOH | [9 empty] | 80% Ethanol | 200 | 1600
6 | Incubate 30s and discard supernatant
7 | Repeate steps 5 and 6, 2X
8 | Discard all supernatant, remove from Mag
9 | Add 19.5 ul RB | [9 empty] | RB | 5 | 40
10 | Pipette mix 12X, pulse centrifuge
11 | Incubable at RT for 2 min
12 | Place on Mag for 5 min
13 | Transfer 17.5 uL to new 96-well plate (ALP) | [14 empty] | Purify CDP
Day 2 RNAseq | [15 empty] | Day 2 RNAseq
Step IV: Adenylate 3' Ends | [15 empty] | Step IV: Adenylate 3' Ends
Thaw on ice A-Tailing Mix (ATL)
Bring to RT Resuspension Buffer (RB)
Add ATL
1 | Add 12.5 uL of ATL | [9 empty] | ATL | 12.5 | 12.5 X 8
Add ATL
Incubate 1 ALP
1 | Run thermocycle program ATAIL70:
|  | 37C 30 min, 70C 5 min, 4C on hold | [13 empty] | Incubate 1 ALP
Step IV: Ligate Adapters
Thaw on ice RNA Adapter Plate (RAP), Ligation Mix (LM) and Stop Ligation Buffer (STL)
Bring to RT and fully resuspend AMPure XP beads (AMP)
Prepare 80% ethanol (EtOH)
Add LIG
1 | Add 2.5 uL of RB | [9 empty] | RB | 2.5 | 20
2 | Add 2.5 uL of LM | [9 empty] | LM | 2.5 | 2.5 X 8
3 | Add 2.5 uL of corresponding adaptor from RAP (see RAP chart below)
4 | Pipette mix 12X, pulse centrifuge | [14 empty] | Add LIG
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
(Previously used plate)
Incubate 2 ALP
1 | Run thermocycler:
|  | 30C 10 min | [13 empty] | Incubate 2 ALP
Add STL
1 | Add 5 uL of STL | [9 empty] | STL | 5 | 5 X 8
2 | Pipette mix 12X, pulse centrifuge | [14 empty] | Add STL
Clean Up ALP
1 | Add 40 uL of AMP | [9 empty] | AMP | 42 | 336
2 | Incubate at RT for 15 min
3 | Place on Mag for 5 min
4 | Discard supernatant (79.5 uL),
5 | (On Mag) Add 200 uL of 80% EtOH | [9 empty] | 80% Ethanol | 200 | 1600
6 | Incubate 30s and discard supernatant
7 | Repeate steps 5 and 6, 2X
8 | Discard all supernatant, remove from Mag
9 | Add 52 ul RB | [9 empty] | RB | 52 | 416
10 | Pipette mix 12X, pulse centrifuge
11 | Incubable at RT for 2 min
12 | Place on Mag for 5 min
13 | Transfer 50 uL to new 96-well plate (CAP)
(2nd Clean Up)
14 | Add 50 uL of AMP | [9 empty] | AMP | 50 | 400
15 | Incubate at RT for 15 min
16 | Place on Mag for 5 min
17 | Discard supernatant (95 uL),
18 | (On Mag) Add 200 uL of 80% EtOH | [9 empty] | 80% Ethanol | 200 | 1600
19 | Incubate 30s and discard supernatant
20 | Discard all supernatant, remove from Mag
21 | Repeate steps 20 and 21, 2X
22 | Add 22.5 ul RB | [9 empty] | RB | 22.5 | 180
23 | Pipette mix 12X, pulse centrifuge
24 | Incubable at RT for 2 min
25 | Place on Mag for 5 min
26 | Transfer 21 uL to new 96-well plate (PCR) | [14 empty] | Clean Up ALP
Step V: Enrich DNA Fragments | [15 empty] | Step V: Enrich DNA Fragments
Thaw on ice PCR Master Mix (PCR MM) PCR Primer Cocktail (PCR PC)
Run Analytical PCR
1 | Prepare PCR Complete Master Mix (CMM), as indicated in chart below
2 | Split over 8 PCR tubes as indicated in chart below
3 | Pipette 9 uL of CMM to clean 96-well PCR plate for each sample and standard
4 | Add 1 uL of library/standard from ALP
5 | Run on LightCycler as indicated in chart below
6 | Determine number of cycler required (between 12-15) | [14 empty] | Run Analytical PCR
Run analytical qPCR with 1 ul of each of the primary library
PCR amplification (12-15 cycles) and Agilent analysis
(use 1 ul of sample in 9 ul qPCR mix)
| Samples(#) | 1 | 9 | 16 |  |  |  |  | Run PCR:
| Water | 3.5 | 31.5 | 38.5 |  |  |  |  | 1 | 98C 30 sec.
| PCR MM | 5 | 45 | 52 |  |  |  |  | 2 | 98C 10 sec
| PCR PC | 0.5 | 4.5 | 11.5 |  |  |  |  | 3 | 60C 30 sec
| CMM | 9 | 81 | 10 X 8 |  |  |  |  | 4 | 72C 30 sec
Make PCR
1 | Add 5 uL of PCR PC | [9 empty] | PCR PC | 5 | 5 X 8
2 | Add 25 uL of PCR MM | [9 empty] | PCR MM | 25 | 25 X 8 |  |  | Make PCR
AMP PCR
1 | Run thermocycler:
| 1 | 98C 30 sec.
| 2 | 98C 10 sec
| 3 | 60C 30 sec
| 4 | 72C 30 sec | [13 empty] | AMP PCR
Clean Up PCR
1 | Add 50 uL of AMP | [9 empty] | AMP | 50 | 400
2 | Incubate at RT for 15 min
3 | Place on Mag for 5 min
4 | Discard supernatant (95 uL),
5 | (On Mag) Add 200 uL of 80% EtOH | [9 empty] | 80% Ethanol | 200 | 1600
6 | Incubate 30s and discard supernatant
7 | Repeate steps 5 and 6, 2X
8 | Discard all supernatant, remove from Mag
9 | Add 32.5 ul RB | [9 empty] | RB | 22.5 | 180
10 | Pipette mix 12X, pulse centrifuge
11 | Incubable at RT for 2 min
12 | Place on Mag for 5 min
13 | Transfer 30 uL to new 96-well plate (TSP1) | [14 empty] | Clean Up PCR
Final comments

## Definitions
| Required | Manual/Autogenerate/etc. | Description
Request Information
Project Name: | Yes | Select List (stored JANE/LIMS data)
Project ID: | Yes | Auto (tied to Project Name)
Project Driver: | Yes | Auto (tied to Project Name)
GTC Request Type: | Yes | Select List (predefined)
GTC Request ID: | Yes | Select List (lookup Request ID)
Expected Completion Date: | Yes | Auto (tied to Request ID)
Number of Samples: | Yes | Auto (tied to Request ID)
Plate Name: | Yes | Select List (predefined)
Plate ID: | No | Select List (lookup Request ID)
Assigned Tech: | Yes | Auto (tied to Plate ID)
Plate Made Date: | Yes | Auto (tied to Plate ID)
Inidividual Samples
Day 1 - Date | Yes | Manual (Date)
Day 1 - Comment | No | Manual
Make RBP - Comment | No | Manual
Incubate 1 RBP - Comment | No | Manual
Wash RBP - Comment | No | Manual
Incubate 2 RBP - Comment | No | Manual
Incubate RFP - Comment | No | Manual
Step II: Synthesize first Strand DNA (50 min) - Comment | No | Manual
Make CDP - Comment | No | Manual
Incubate 1 CDP - Comment | No | Manual
Step III: Synthesize Second Strand DNA and Clean Up (1.5 hours) - Comment | No | Manual
Add SMM - Comment | No | Manual
Incubate 2 CDP - Comment | No | Manual
Purify CDP - Comment | No | Manual
Day 2 RNAseq - Day | Yes | Manual (Date)
Day 2 RNAseq - Comment | No | Manual
Step IV: Adenylate 3' Ends - Comment | No | Manual
Add ATL - Comment | No | Manual
Incubate 1 ALP - Comment | No | Manual
Step IV: Ligate Adapters - Comment | No | Manual
Add LIG - Comment | No | Manual
Illumina Barcode Grid | Yes | Manual (Indicate sample number match)
Add STL - Comment | No | Manual
Clean Up ALP - Comment | No | Manual
Step V: Enrich DNA Fragments - Comment | No | Manual
Run Analytical PCR - Comment | No | Manual
Make PCR - Comment | No | Manual
AMP PCR - Comment | No | Manual
Clean Up PCR - Comment | No | Manual
End - Comment | No | Manual
80% Ethanol | Yes | Calculated (AdjValue*(ROUNDUP("Number of Samples"/8,0)+1))
AMP | Yes | Calculated (AdjValue*(ROUNDUP("Number of Samples"/8,0)+1))
RB | Yes | Calculated (AdjValue*(ROUNDUP("Number of Samples"/8,0)+1))
BWB | Yes | Calculated (AdjValue*(ROUNDUP("Number of Samples"/8,0)+1))
ATL | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
BBB | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
BWB | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
EB | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
F/P/F | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
FSSactD | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
LM | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
MM | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
PCR MM | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
PCR PC | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
RPB | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
SSIII | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
SSMM | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))
STL | Yes | Calculated (CONCATENATE(AdjValue*(ROUNDUP("Number of Samples"/8,0)+1)," X 8"))